## Slide 1
Wavewin Sniffer 24 Configuration & Polling Software
(Wavewin Sniffer Operations Guide)

## Slide 2
Operations Guide Content Calibration

## Slide 3
Calibration
Run the Wavewin Sniffer Software
Double Click “Wavewin Sniffer”.

## Slide 4
Calibration Calibrating Clamp On Current Sensor
“CS-HE-CPL”
Mount the Current Sensor to
Calibration Test Wire

## Slide 5
Step 1: In “Configuration” tab, select “CS-HE-CPL” sensor.

## Slide 6
Step 2: In “Calibration” tab, select “Calibrate” checkbox.

## Slide 7
Step 3: Enter the known calibration test value. By default the value is (2 Amps).

## Slide 8
Step 4: Click “Calibrate Sensors”.

## Slide 9
Step 5: Click “Start Calibration”.

## Slide 10
Step 6: The offset value will be displayed. Click “Continue Calibration”.

## Slide 11
Step 7: The scale factor value will be displayed. Click “Finish”.

## Slide 12
Step 8: Click “Save”.

## Slide 13
End of Operations Guide